## Sheet1
Link to detailed cost report | Building index | Area (S.F.) | Story | Perimeter (L.F.) | Total cost ($) | Square foot cost ($) | IBC fire type | Firetype_index | Building_type | IBC beam fire rating (hrs) | IBC column fire rating (hrs) | Newly calculated column cost ($) | Colum fire protection cost (1h rating)($) | 2h | 3h | Floor system cost ($) | Column fire protection cost ($) | Partition fire protection cost ($) | Sprinkler cost ($) | Fire pump cost ($) | Fire alarm system cost ($) | Ceiling fire protection cost ($) | Building_type | Floor system cost multiplier | Column fire protection cost multiplier | Partition fire protection cost multiplier | Sprinkler cost multiplier | Fire pump cost multiplier | Fire alarm system cost multiplier | Ceiling fire protection cost multiplier | Total | Total passive | Total active
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Office-buildings\HIGH1.xlsx | 1 | 102000 | 11 | 194.5858 | 13551038.9604 | 132.8533 | 12 | 2 | 1 | 2 | 2 | 566590.9987 | 28782.4082 | 45564.6362 | 62341.2316 | 87720 | 45564.6362 | 228825.6075 | 279196.3615 | 48450 | 233795.7693 | 0 | 1 | 0.6473% | 0.3362% | 1.689% | 2.06% | 0.3575% | 1.725% | 3.0625e-07 | 6.815% | 2.672% | 4.143% | 7.799% | 2.848% | 5.263%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Office-buildings\HIGH2.xlsx | 2 | 102000 | 13 | 178.9929 | 13817722.2778 | 135.4679 | 11 | 1 | 1 | 2 | 3 | 650861.0362 | 30084.5848 | 47603.5624 | 65117.6161 | 87720 | 65117.6161 | 235799.8475 | 279196.3615 | 48450 | 233795.7693 | 0 | 1 | 0.6348% | 0.4713% | 1.707% | 2.021% | 0.3506% | 1.692% | 2.8804e-07 | 6.876% | 2.813% | 4.063% | 6.626% | 2.238% | 3.925%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Office-buildings\HIGH3.xlsx | 3 | 102000 | 15 | 166.6333 | 14066347.4497 | 137.9054 | 11 | 1 | 1 | 2 | 3 | 737323.5033 | 31474.6097 | 49783.5132 | 68088.0209 | 87720 | 68088.0209 | 242620.8075 | 279196.3615 | 48450 | 233795.7693 | 0 | 1 | 0.6236% | 0.484% | 1.725% | 1.985% | 0.3444% | 1.662% | 2.7441e-07 | 6.824% | 2.833% | 3.991%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Office-buildings\HIGH4.xlsx | 4 | 102000 | 17 | 156.5248 | 14304285.4801 | 140.2381 | 11 | 1 | 1 | 2 | 3 | 826269.2275 | 32728.0332 | 51750.9534 | 70769.8872 | 87720 | 70769.8872 | 248905.2875 | 279196.3615 | 48450 | 233795.7693 | 0 | 1 | 0.6132% | 0.4947% | 1.74% | 1.952% | 0.3387% | 1.634% | 2.6216e-07 | 6.773% | 2.848% | 3.925%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Office-buildings\HIGH6.xlsx | 5 | 306500 | 11 | 337.3077 | 35891498.7351 | 117.1011 | 12 | 2 | 1 | 2 | 2 | 1441788.9015 | 73241.8213 | 115947.1063 | 158638.0583 | 263590 | 115947.1063 | 582658.6331 | 838957.6942 | 48450 | 702533.3654 | 0 | 1 | 0.7344% | 0.323% | 1.623% | 2.337% | 0.135% | 1.957% | 1.212e-07 | 7.111% | 2.681% | 4.43%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Office-buildings\HIGH7.xlsx | 6 | 306500 | 13 | 310.278 | 36432880.4024 | 118.8675 | 11 | 1 | 1 | 2 | 3 | 1636323.3272 | 75635.3587 | 119679.6478 | 163711.558 | 263590 | 163711.558 | 595035.9931 | 838957.6942 | 48450 | 702533.3654 | 0 | 1 | 0.7235% | 0.4494% | 1.633% | 2.303% | 0.133% | 1.928% | 1.1555e-07 | 7.17% | 2.806% | 4.364%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Office-buildings\HIGH8.xlsx | 7 | 306500 | 15 | 288.8531 | 36915523.7237 | 120.4422 | 11 | 1 | 1 | 2 | 3 | 1833581.8354 | 78271.3047 | 123802.0288 | 169321.8211 | 263590 | 169321.8211 | 606723.5931 | 838957.6942 | 48450 | 702533.3654 | 0 | 1 | 0.714% | 0.4587% | 1.644% | 2.273% | 0.1312% | 1.903% | 1.1106e-07 | 7.123% | 2.816% | 4.307%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Office-buildings\HIGH9.xlsx | 8 | 306500 | 17 | 271.3302 | 37368979.0332 | 121.9216 | 11 | 1 | 1 | 2 | 3 | 2034389.208 | 80580.9479 | 127418.0104 | 174245.258 | 263590 | 174245.258 | 617146.6331 | 838957.6942 | 48450 | 702533.3654 | 0 | 1 | 0.7054% | 0.4663% | 1.651% | 2.245% | 0.1297% | 1.88% | 1.0758e-07 | 7.078% | 2.823% | 4.255%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Office-buildings\HIGH11.xlsx | 9 | 511000 | 11 | 435.5335 | 57744506.967 | 113.0029 | 12 | 2 | 1 | 2 | 2 | 2277342.5497 | 115687.3353 | 183141.4283 | 250572.8819 | 439460 | 183141.4283 | 918366.2987 | 1398719.0269 | 48450 | 1171270.9615 | 0 | 1 | 0.761% | 0.3172% | 1.59% | 2.422% | 0.0839% | 2.028% | 7.6198e-08 | 7.203% | 2.669% | 4.535%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Office-buildings\HIGH12.xlsx | 10 | 511000 | 13 | 400.6325 | 58510062.9671 | 114.5011 | 11 | 1 | 1 | 2 | 3 | 2573864.5002 | 118971.0869 | 188250.8132 | 257511.0679 | 439460 | 257511.0679 | 934345.7387 | 1398719.0269 | 48450 | 1171270.9615 | 0 | 1 | 0.7511% | 0.4401% | 1.597% | 2.391% | 0.08281% | 2.002% | 7.2979e-08 | 7.263% | 2.788% | 4.475%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Office-buildings\HIGH13.xlsx | 11 | 511000 | 15 | 372.9686 | 59173789.7051 | 115.8 | 11 | 1 | 1 | 2 | 3 | 2873232.1071 | 122651.5345 | 193998.4118 | 265328.159 | 439460 | 265328.159 | 948983.9787 | 1398719.0269 | 48450 | 1171270.9615 | 0 | 1 | 0.7427% | 0.4484% | 1.604% | 2.364% | 0.08188% | 1.979% | 7.047e-08 | 7.22% | 2.795% | 4.425%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Office-buildings\HIGH14.xlsx | 12 | 511000 | 17 | 350.343 | 59812325.2826 | 117.0496 | 11 | 1 | 1 | 2 | 3 | 3176798.8772 | 125831.1162 | 198969.4946 | 272092.5464 | 439460 | 272092.5464 | 962587.5787 | 1398719.0269 | 48450 | 1171270.9615 | 0 | 1 | 0.7347% | 0.4549% | 1.609% | 2.339% | 0.081% | 1.958% | 6.8381e-08 | 7.177% | 2.799% | 4.378%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Office-buildings\HIGH16.xlsx | 13 | 715500 | 11 | 515.3662 | 79373010.34 | 110.9336 | 12 | 2 | 1 | 2 | 2 | 3096508.7961 | 157300.3812 | 249017.8931 | 340704.6222 | 615330 | 249017.8931 | 1245643.5644 | 1958480.3596 | 48450 | 1640008.5577 | 0 | 1 | 0.7752% | 0.3137% | 1.569% | 2.467% | 0.06104% | 2.066% | 5.5686e-08 | 7.253% | 2.658% | 4.595%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Office-buildings\HIGH17.xlsx | 14 | 715500 | 13 | 474.0679 | 80347087.972 | 112.295 | 11 | 1 | 1 | 2 | 3 | 3491596.9362 | 161391.2009 | 255373.1801 | 349328.745 | 615330 | 349328.745 | 1264688.6044 | 1958480.3596 | 48450 | 1640008.5577 | 0 | 1 | 0.7658% | 0.4348% | 1.574% | 2.438% | 0.0603% | 2.041% | 5.3518e-08 | 7.314% | 2.775% | 4.539%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Office-buildings\HIGH18.xlsx | 15 | 715500 | 15 | 441.3332 | 81183726.9628 | 113.4643 | 11 | 1 | 1 | 2 | 3 | 3889482.7958 | 166032.8911 | 262614.8731 | 359173.6662 | 615330 | 359173.6662 | 1282047.5644 | 1958480.3596 | 48450 | 1640008.5577 | 0 | 1 | 0.7579% | 0.4424% | 1.579% | 2.412% | 0.05968% | 2.02% | 5.1735e-08 | 7.272% | 2.78% | 4.492%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Office-buildings\HIGH19.xlsx | 16 | 715500 | 17 | 414.5604 | 82006179.4488 | 114.6138 | 11 | 1 | 1 | 2 | 3 | 4292046.4448 | 170005.4098 | 268819.7601 | 367613.4032 | 615330 | 367613.4032 | 1298908.3644 | 1958480.3596 | 48450 | 1640008.5577 | 0 | 1 | 0.7503% | 0.4483% | 1.584% | 2.388% | 0.05908% | 2% | 5.0362e-08 | 7.23% | 2.783% | 4.447%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Office-buildings\HIGH21.xlsx | 17 | 920000 | 11 | 584.393 | 100887712.0984 | 109.6606 | 12 | 2 | 1 | 2 | 2 | 3906047.4674 | 198424.3534 | 314120.1188 | 429777.0535 | 791200 | 314120.1188 | 1568705.63 | 2518241.6923 | 48450 | 2108746.1538 | 0 | 1 | 0.7842% | 0.3114% | 1.555% | 2.496% | 0.04802% | 2.09% | 4.391e-08 | 7.285% | 2.651% | 4.634%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Office-buildings\HIGH22.xlsx | 18 | 920000 | 13 | 537.5634 | 102062127.548 | 110.9371 | 11 | 1 | 1 | 2 | 3 | 4397691.7676 | 203273.3928 | 321644.38 | 439982.0981 | 791200 | 439982.0981 | 1590548.03 | 2518241.6923 | 48450 | 2108746.1538 | 0 | 1 | 0.7752% | 0.4311% | 1.558% | 2.467% | 0.04747% | 2.066% | 4.2229e-08 | 7.346% | 2.765% | 4.581%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Office-buildings\HIGH23.xlsx | 19 | 920000 | 15 | 500.4442 | 103053340.3237 | 112.0145 | 11 | 1 | 1 | 2 | 3 | 4891986.263 | 208827.411 | 330303.1326 | 451749.6884 | 791200 | 451749.6884 | 1609937.95 | 2518241.6923 | 48450 | 2108746.1538 | 0 | 1 | 0.7678% | 0.4384% | 1.562% | 2.444% | 0.04701% | 2.046% | 4.095e-08 | 7.305% | 2.768% | 4.537%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Office-buildings\HIGH24.xlsx | 20 | 920000 | 17 | 470.0855 | 104025563.7437 | 113.0713 | 11 | 1 | 1 | 2 | 3 | 5391336.3166 | 213547.6285 | 337670.562 | 461767.4847 | 791200 | 461767.4847 | 1628714.75 | 2518241.6923 | 48450 | 2108746.1538 | 0 | 1 | 0.7606% | 0.4439% | 1.566% | 2.421% | 0.04658% | 2.027% | 3.9894e-08 | 7.265% | 2.77% | 4.495%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Office-buildings\mid1.xlsx | 21 | 17000 | 5 | 117.8276 | 2485342.4449 | 146.1966 | 21 | 3 | 2 | 1 | 1 | 68631.3049 | 5623.8095 | 8936.9102 | 12247.4074 | 8160 | 5623.8095 | 49241.1595 | 48807.425 | 48450 | 33537.8125 | 0 | 2 | 0.3283% | 0.2263% | 1.981% | 1.964% | 1.949% | 1.349% | 1.1025e-06 | 7.799% | 2.536% | 5.263%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Office-buildings\mid2.xlsx | 22 | 17000 | 7 | 99.5825 | 2584535.1095 | 152.0315 | 21 | 3 | 2 | 1 | 1 | 96109.4239 | 6488.8851 | 10289.8112 | 14088.6838 | 8160 | 6488.8851 | 54299.3995 | 48807.425 | 48450 | 33537.8125 | 0 | 2 | 0.3157% | 0.2511% | 2.101% | 1.888% | 1.875% | 1.298% | 8.8991e-07 | 7.729% | 2.668% | 5.061%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Office-buildings\mid3.xlsx | 23 | 17000 | 10 | 83.3167 | 2711913.2699 | 159.5243 | 21 | 3 | 2 | 1 | 1 | 137962.3922 | 7499.1871 | 11874.9264 | 16249.0478 | 8160 | 7499.1871 | 60277.3195 | 48807.425 | 48450 | 33537.8125 | 0 | 2 | 0.3009% | 0.2765% | 2.223% | 1.8% | 1.787% | 1.237% | 7.1536e-07 | 7.623% | 2.8% | 4.823%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Office-buildings\mid4.xlsx | 24 | 99000 | 5 | 284.3413 | 11823437.9318 | 119.4287 | 21 | 3 | 2 | 1 | 1 | 280429.5922 | 22979.0561 | 36516.4862 | 50043.2778 | 47520 | 22979.0561 | 194059.0066 | 284231.475 | 48450 | 195308.4375 | 0 | 2 | 0.4019% | 0.1944% | 1.641% | 2.404% | 0.4098% | 1.652% | 2.2921e-07 | 6.703% | 2.238% | 4.466%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Office-buildings\mid5.xlsx | 25 | 99000 | 7 | 240.3123 | 12087377.1311 | 122.0947 | 21 | 3 | 2 | 1 | 1 | 373759.1083 | 25234.5693 | 40015.9579 | 54789.3608 | 47520 | 25234.5693 | 206014.8466 | 284231.475 | 48450 | 195308.4375 | 0 | 2 | 0.3931% | 0.2088% | 1.704% | 2.351% | 0.4008% | 1.616% | 1.9194e-07 | 6.674% | 2.306% | 4.368%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Office-buildings\mid6.xlsx | 26 | 99000 | 10 | 201.0597 | 12438800.484 | 125.6444 | 21 | 3 | 2 | 1 | 1 | 506573.2456 | 27535.6748 | 43602.6074 | 59663.5992 | 47520 | 27535.6748 | 221189.5666 | 284231.475 | 48450 | 195308.4375 | 0 | 2 | 0.382% | 0.2214% | 1.778% | 2.285% | 0.3895% | 1.57% | 1.6159e-07 | 6.626% | 2.382% | 4.245%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Office-buildings\mid7.xlsx | 27 | 181000 | 5 | 384.4693 | 20998807.0505 | 116.0155 | 12 | 2 | 2 | 2 | 2 | 476728.5025 | 39064.2475 | 62077.7915 | 85073.2502 | 155660 | 62077.7915 | 323702.1337 | 519655.525 | 48450 | 357079.0625 | 0 | 2 | 0.7413% | 0.2956% | 1.542% | 2.475% | 0.2307% | 1.7% | 1.2763e-07 | 6.984% | 2.578% | 4.406%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Office-buildings\mid8.xlsx | 28 | 181000 | 7 | 324.9359 | 21381493.4763 | 118.1298 | 12 | 2 | 2 | 2 | 2 | 628149.9665 | 42409.92 | 67251.9332 | 92080.5256 | 155660 | 67251.9332 | 339704.5657 | 519655.525 | 48450 | 357079.0625 | 0 | 2 | 0.728% | 0.3145% | 1.589% | 2.43% | 0.2266% | 1.67% | 1.0757e-07 | 6.958% | 2.631% | 4.327%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Office-buildings\mid9.xlsx | 29 | 181000 | 10 | 271.8609 | 21895388.9108 | 120.969 | 12 | 2 | 2 | 2 | 2 | 839731.3347 | 45645.0655 | 72278.7397 | 98902.5659 | 155660 | 72278.7397 | 360489.3337 | 519655.525 | 48450 | 357079.0625 | 0 | 2 | 0.7109% | 0.3301% | 1.646% | 2.373% | 0.2213% | 1.631% | 9.18e-08 | 6.913% | 2.687% | 4.225%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Office-buildings\mid10.xlsx | 30 | 263000 | 5 | 463.4472 | 30041789.8489 | 114.2273 | 12 | 2 | 2 | 2 | 2 | 668089.4106 | 54744.8075 | 86996.0888 | 119222.0253 | 226180 | 86996.0888 | 448516.9408 | 755079.575 | 48450 | 518849.6875 | 0 | 2 | 0.7529% | 0.2896% | 1.493% | 2.513% | 0.1613% | 1.727% | 8.8876e-08 | 6.937% | 2.535% | 4.402%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Office-buildings\mid11.xlsx | 31 | 263000 | 7 | 391.6844 | 30535713.9574 | 116.1054 | 12 | 2 | 2 | 2 | 2 | 875130.7119 | 59084.9724 | 93694.556 | 128285.4417 | 226180 | 93694.556 | 468244.0768 | 755079.575 | 48450 | 518849.6875 | 0 | 2 | 0.7407% | 0.3068% | 1.533% | 2.473% | 0.1587% | 1.699% | 7.5322e-08 | 6.912% | 2.581% | 4.331%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Office-buildings\mid12.xlsx | 32 | 263000 | 10 | 327.7067 | 31181236.1777 | 118.5598 | 12 | 2 | 2 | 2 | 2 | 1161594.4002 | 63140.4954 | 99982.668 | 136811.218 | 226180 | 99982.668 | 492891.5008 | 755079.575 | 48450 | 518849.6875 | 0 | 2 | 0.7254% | 0.3207% | 1.581% | 2.422% | 0.1554% | 1.664% | 6.4462e-08 | 6.868% | 2.627% | 4.241%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Office-buildings\mid13.xlsx | 33 | 345000 | 5 | 530.8013 | 39042080.3188 | 113.1655 | 12 | 2 | 2 | 2 | 2 | 856736.45 | 70202.9868 | 111560.9964 | 152886.5046 | 296700 | 111560.9964 | 570802.6279 | 990503.625 | 48450 | 680620.3125 | 0 | 2 | 0.7599% | 0.2857% | 1.462% | 2.537% | 0.1241% | 1.743% | 6.7875e-08 | 6.912% | 2.508% | 4.404%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Office-buildings\mid14.xlsx | 34 | 345000 | 7 | 448.609 | 39630913.3491 | 114.8722 | 12 | 2 | 2 | 2 | 2 | 1118038.9452 | 75485.0668 | 119701.1613 | 163893.3682 | 296700 | 119701.1613 | 593242.8199 | 990503.625 | 48450 | 680620.3125 | 0 | 2 | 0.7487% | 0.302% | 1.497% | 2.499% | 0.1223% | 1.717% | 5.7783e-08 | 6.887% | 2.548% | 4.339%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Office-buildings\mid15.xlsx | 35 | 345000 | 10 | 375.3332 | 40397469.3289 | 117.0941 | 12 | 2 | 2 | 2 | 2 | 1477249.852 | 80298.4996 | 127152.2844 | 173988.7447 | 296700 | 127152.2844 | 621155.1079 | 990503.625 | 48450 | 680620.3125 | 0 | 2 | 0.7345% | 0.3148% | 1.538% | 2.452% | 0.1199% | 1.685% | 4.9756e-08 | 6.843% | 2.587% | 4.257%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Apartment\high1.xlsx | 36 | 80750 | 8 | 203.0176 | 9947563.8987 | 123.1896 | 12 | 2 | 3 | 2 | 2 | 263311.5236 | 20521.23 | 32619.7022 | 44706.1031 | 63792.5 | 32619.7022 | 293708.19 | 227716.1138 | 48450 | 212704.6207 | 196077.15 | 3 | 0.6413% | 0.3279% | 2.953% | 2.289% | 0.4871% | 2.138% | 1.971% | 10.81% | 5.893% | 4.914%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Apartment\high2.xlsx | 37 | 80750 | 12 | 165.7632 | 10015711.638 | 124.0336 | 12 | 2 | 3 | 2 | 2 | 368468.7684 | 23543.2159 | 37326.8969 | 51101.8581 | 63792.5 | 37326.8969 | 307751.07 | 227716.1138 | 48450 | 212704.6207 | 196077.15 | 3 | 0.6369% | 0.3727% | 3.073% | 2.274% | 0.4837% | 2.124% | 1.958% | 10.92% | 6.04% | 4.881%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Apartment\high3.xlsx | 38 | 80750 | 16 | 143.5551 | 10140617.8523 | 125.5804 | 11 | 1 | 3 | 2 | 3 | 490559.9622 | 25478.739 | 40352.3892 | 55219.0589 | 63792.5 | 55219.0589 | 319656.99 | 227716.1138 | 48450 | 212704.6207 | 196077.15 | 3 | 0.6291% | 0.5445% | 3.152% | 2.246% | 0.4778% | 2.098% | 1.934% | 11.08% | 6.259% | 4.821%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Apartment\high4.xlsx | 39 | 80750 | 20 | 128.3996 | 10253191.6603 | 126.9745 | 11 | 1 | 3 | 2 | 3 | 604296.7968 | 27603.5715 | 43684.4971 | 59759.5181 | 63792.5 | 59759.5181 | 329425.95 | 227716.1138 | 48450 | 212704.6207 | 196077.15 | 3 | 0.6222% | 0.5828% | 3.213% | 2.221% | 0.4725% | 2.075% | 1.912% | 11.1% | 6.33% | 4.768%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Apartment\high5.xlsx | 40 | 80750 | 24 | 117.2123 | 10375321.223 | 128.487 | 11 | 1 | 3 | 2 | 3 | 722946.105 | 29586.7899 | 46798.808 | 64005.6581 | 63792.5 | 64005.6581 | 338889.63 | 227716.1138 | 48450 | 212704.6207 | 196077.15 | 3 | 0.6148% | 0.6169% | 3.266% | 2.195% | 0.467% | 2.05% | 1.89% | 11.1% | 6.388% | 4.712%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Apartment\high6.xlsx | 41 | 233062.5 | 8 | 344.9043 | 27252866.5436 | 116.9337 | 12 | 2 | 3 | 2 | 2 | 650376.0486 | 50687.172 | 80570.2415 | 110423.495 | 184119.375 | 80570.2415 | 774165.7974 | 657240.8747 | 48450 | 588403.0178 | 565923.5766 | 3 | 0.6756% | 0.2956% | 2.841% | 2.412% | 0.1778% | 2.159% | 2.077% | 10.64% | 5.888% | 4.748%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Apartment\high7.xlsx | 42 | 233062.5 | 12 | 281.6132 | 27347430.2355 | 117.3395 | 12 | 2 | 3 | 2 | 2 | 884273.2161 | 56500.4066 | 89579.3021 | 122637.2715 | 184119.375 | 89579.3021 | 797977.6374 | 657240.8747 | 48450 | 588403.0178 | 565923.5766 | 3 | 0.6733% | 0.3276% | 2.918% | 2.403% | 0.1772% | 2.152% | 2.069% | 10.72% | 5.988% | 4.732%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Apartment\high8.xlsx | 43 | 233062.5 | 16 | 243.8842 | 27589184.7146 | 118.3768 | 11 | 1 | 3 | 2 | 3 | 1150654.1776 | 59762.7604 | 94650.2951 | 129521.4564 | 184119.375 | 129521.4564 | 817820.8374 | 657240.8747 | 48450 | 588403.0178 | 565923.5766 | 3 | 0.6674% | 0.4695% | 2.964% | 2.382% | 0.1756% | 2.133% | 2.051% | 10.84% | 6.152% | 4.691%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Apartment\high9.xlsx | 44 | 233062.5 | 20 | 218.1366 | 27804617.2647 | 119.3011 | 11 | 1 | 3 | 2 | 3 | 1390524.1353 | 63517.5175 | 100520.7173 | 137510.3305 | 184119.375 | 137510.3305 | 835221.7974 | 657240.8747 | 48450 | 588403.0178 | 565923.5766 | 3 | 0.6622% | 0.4946% | 3.004% | 2.364% | 0.1743% | 2.116% | 2.035% | 10.85% | 6.196% | 4.654%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Apartment\high10.xlsx | 45 | 233062.5 | 24 | 199.1306 | 28040694.3387 | 120.3141 | 11 | 1 | 3 | 2 | 3 | 1636170.6025 | 66960.781 | 105914.9961 | 144857.515 | 184119.375 | 144857.515 | 851096.3574 | 657240.8747 | 48450 | 588403.0178 | 565923.5766 | 3 | 0.6566% | 0.5166% | 3.035% | 2.344% | 0.1728% | 2.098% | 2.018% | 10.84% | 6.227% | 4.615%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Apartment\high11.xlsx | 46 | 385375 | 8 | 443.5108 | 44537159.0642 | 115.5684 | 12 | 2 | 3 | 2 | 2 | 1020717.018 | 79549.7607 | 126449.0241 | 173301.4934 | 304446.25 | 126449.0241 | 1241493.495 | 1086762.8155 | 48450 | 964098.9482 | 935767.575 | 3 | 0.6836% | 0.2839% | 2.788% | 2.44% | 0.1088% | 2.165% | 2.101% | 10.57% | 5.856% | 4.714%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Apartment\high12.xlsx | 47 | 385375 | 12 | 362.125 | 44642651.1026 | 115.8421 | 12 | 2 | 3 | 2 | 2 | 1373625.1924 | 87767.4236 | 139151.9995 | 190504.0689 | 304446.25 | 139151.9995 | 1271716.215 | 1086762.8155 | 48450 | 964098.9482 | 935767.575 | 3 | 0.682% | 0.3117% | 2.849% | 2.434% | 0.1085% | 2.16% | 2.096% | 10.64% | 5.938% | 4.702%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Apartment\high13.xlsx | 48 | 385375 | 16 | 313.6095 | 44984630.7645 | 116.7295 | 11 | 1 | 3 | 2 | 3 | 1772650.1227 | 92068.031 | 145814.3206 | 199535.3861 | 304446.25 | 199535.3861 | 1297665.015 | 1086762.8155 | 48450 | 964098.9482 | 935767.575 | 3 | 0.6768% | 0.4436% | 2.885% | 2.416% | 0.1077% | 2.143% | 2.08% | 10.75% | 6.085% | 4.667%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Apartment\high14.xlsx | 49 | 385375 | 20 | 280.5009 | 45287717.1969 | 117.516 | 11 | 1 | 3 | 2 | 3 | 2127125.4078 | 97164.6029 | 153769.479 | 210353.5713 | 304446.25 | 210353.5713 | 1320408.375 | 1086762.8155 | 48450 | 964098.9482 | 935767.575 | 3 | 0.6722% | 0.4645% | 2.916% | 2.4% | 0.107% | 2.129% | 2.066% | 10.75% | 6.119% | 4.635%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Apartment\high15.xlsx | 50 | 385375 | 24 | 256.0611 | 45622070.685 | 118.3836 | 11 | 1 | 3 | 2 | 3 | 2487474.3568 | 101800.6469 | 161022.8398 | 220227.251 | 304446.25 | 220227.251 | 1340404.215 | 1086762.8155 | 48450 | 964098.9482 | 935767.575 | 3 | 0.6673% | 0.4827% | 2.938% | 2.382% | 0.1062% | 2.113% | 2.051% | 10.74% | 6.139% | 4.602%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Apartment\high16.xlsx | 51 | 537687.5 | 8 | 523.8747 | 61812701.716 | 114.9603 | 12 | 2 | 3 | 2 | 2 | 1384009.0112 | 107862.9862 | 171454.5615 | 234982.688 | 424773.125 | 171454.5615 | 1703023.7424 | 1516287.5764 | 48450 | 1339797.3454 | 1305614.0016 | 3 | 0.6872% | 0.2774% | 2.755% | 2.453% | 0.07838% | 2.168% | 2.112% | 10.53% | 5.832% | 4.699%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Apartment\high17.xlsx | 52 | 537687.5 | 12 | 427.7419 | 61922872.7118 | 115.1652 | 12 | 2 | 3 | 2 | 2 | 1851827.4561 | 118322.0326 | 187595.2004 | 256824.5452 | 424773.125 | 187595.2004 | 1739046.7824 | 1516287.5764 | 48450 | 1339797.3454 | 1305614.0016 | 3 | 0.686% | 0.3029% | 2.808% | 2.449% | 0.07824% | 2.164% | 2.108% | 10.6% | 5.906% | 4.691%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Apartment\high18.xlsx | 53 | 537687.5 | 16 | 370.4353 | 62357353.3865 | 115.9732 | 11 | 1 | 3 | 2 | 3 | 2378587.6529 | 123539.2585 | 195657.4161 | 267741.7273 | 424773.125 | 267741.7273 | 1768964.2224 | 1516287.5764 | 48450 | 1339797.3454 | 1305614.0016 | 3 | 0.6812% | 0.4294% | 2.837% | 2.432% | 0.0777% | 2.149% | 2.094% | 10.7% | 6.041% | 4.658%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Apartment\high19.xlsx | 54 | 537687.5 | 20 | 331.3274 | 62741343.5675 | 116.6874 | 11 | 1 | 3 | 2 | 3 | 2842809.3014 | 129856.2068 | 205506.1275 | 281128.2714 | 424773.125 | 281128.2714 | 1795676.2224 | 1516287.5764 | 48450 | 1339797.3454 | 1305614.0016 | 3 | 0.677% | 0.4481% | 2.862% | 2.417% | 0.07722% | 2.135% | 2.081% | 10.7% | 6.068% | 4.629%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Apartment\high20.xlsx | 55 | 537687.5 | 24 | 302.4592 | 63167883.8922 | 117.4807 | 11 | 1 | 3 | 2 | 3 | 3312678.5277 | 135572.3793 | 214441.167 | 293286.2739 | 424773.125 | 293286.2739 | 1819640.7024 | 1516287.5764 | 48450 | 1339797.3454 | 1305614.0016 | 3 | 0.6725% | 0.4643% | 2.881% | 2.4% | 0.0767% | 2.121% | 2.067% | 10.68% | 6.084% | 4.598%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Apartment\high21.xlsx | 56 | 690000 | 8 | 593.4539 | 79082916.4006 | 114.6129 | 12 | 2 | 3 | 2 | 2 | 1743133.7941 | 135851.4395 | 215943.8544 | 295956.3566 | 545100 | 215943.8544 | 2161193.04 | 1945809.5172 | 48450 | 1715493.2758 | 1675458 | 3 | 0.6893% | 0.2731% | 2.733% | 2.46% | 0.06126% | 2.169% | 2.119% | 10.5% | 5.814% | 4.691%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Apartment\high22.xlsx | 57 | 690000 | 12 | 484.5531 | 79193915.789 | 114.7738 | 12 | 2 | 3 | 2 | 2 | 2323438.2381 | 148455.4806 | 235370.6661 | 322230.8681 | 545100 | 235370.6661 | 2202253.2 | 1945809.5172 | 48450 | 1715493.2758 | 1675458 | 3 | 0.6883% | 0.2972% | 2.781% | 2.457% | 0.06118% | 2.166% | 2.116% | 10.57% | 5.882% | 4.684%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Apartment\high23.xlsx | 58 | 690000 | 16 | 419.6353 | 79717284.391 | 115.5323 | 11 | 1 | 3 | 2 | 3 | 2975031.777 | 154517.4168 | 244719.6048 | 334879.4592 | 545100 | 334879.4592 | 2236597.2 | 1945809.5172 | 48450 | 1715493.2758 | 1675458 | 3 | 0.6838% | 0.4201% | 2.806% | 2.441% | 0.06078% | 2.152% | 2.102% | 10.66% | 6.011% | 4.654%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Apartment\high24.xlsx | 59 | 690000 | 20 | 375.3332 | 80178235.9263 | 116.2003 | 11 | 1 | 3 | 2 | 3 | 3546127.2688 | 161982.9496 | 256348.8456 | 350680.0927 | 545100 | 350680.0927 | 2266362 | 1945809.5172 | 48450 | 1715493.2758 | 1675458 | 3 | 0.6799% | 0.4374% | 2.827% | 2.427% | 0.06043% | 2.14% | 2.09% | 10.66% | 6.034% | 4.627%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Apartment\high25.xlsx | 60 | 690000 | 24 | 342.6308 | 80693500.2484 | 116.9471 | 11 | 1 | 3 | 2 | 3 | 4122453.159 | 168712.6531 | 266860.6866 | 364979.2505 | 545100 | 364979.2505 | 2294295.12 | 1945809.5172 | 48450 | 1715493.2758 | 1675458 | 3 | 0.6755% | 0.4523% | 2.843% | 2.411% | 0.06004% | 2.126% | 2.076% | 10.64% | 6.047% | 4.597%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Apartment\mid1.xlsx | 61 | 34000 | 5 | 166.6333 | 4524948.6911 | 133.0867 | 21 | 3 | 4 | 1 | 1 | 88621.2474 | 8242.3035 | 13176.6959 | 18102.2965 | 14960 | 8242.3035 | 144312.9333 | 92724.8 | 27225 | 44733.6 | 82558.8 | 4 | 0.3306% | 0.1822% | 3.189% | 2.049% | 0.6017% | 0.9886% | 1.825% | 9.166% | 5.527% | 3.639%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Apartment\mid2.xlsx | 62 | 34000 | 7 | 140.8309 | 4620530.0715 | 135.8979 | 12 | 2 | 4 | 2 | 2 | 116976.0218 | 9916.3826 | 15779.7616 | 21636.3602 | 26860 | 15779.7616 | 150113.2533 | 92724.8 | 27225 | 44733.6 | 82558.8 | 4 | 0.5813% | 0.3415% | 3.249% | 2.007% | 0.5892% | 0.9681% | 1.787% | 9.523% | 5.958% | 3.564%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Apartment\mid3.xlsx | 63 | 54250 | 5 | 210.4855 | 6893189.0796 | 127.0634 | 21 | 3 | 4 | 1 | 1 | 129110.6998 | 12008.0636 | 19196.891 | 26372.9098 | 23870 | 12008.0636 | 219490.8333 | 147950.6 | 27225 | 63321.075 | 131729.85 | 4 | 0.3463% | 0.1742% | 3.184% | 2.146% | 0.395% | 0.9186% | 1.911% | 9.076% | 5.616% | 3.46%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Apartment\mid4.xlsx | 64 | 54250 | 7 | 177.8928 | 7019263.3495 | 129.3873 | 12 | 2 | 4 | 2 | 2 | 168228.4467 | 14261.1931 | 22693.5806 | 31116.2169 | 42857.5 | 22693.5806 | 226970.1933 | 147950.6 | 27225 | 63321.075 | 131729.85 | 4 | 0.6106% | 0.3233% | 3.234% | 2.108% | 0.3879% | 0.9021% | 1.877% | 9.442% | 6.044% | 3.398%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Apartment\mid5.xlsx | 65 | 74500 | 5 | 246.661 | 9244898.2698 | 124.0926 | 21 | 3 | 4 | 1 | 1 | 168229.3946 | 15646.3351 | 25013.2743 | 34363.5242 | 32780 | 15646.3351 | 293523.9333 | 203176.4 | 27225 | 81908.55 | 180900.9 | 4 | 0.3546% | 0.1692% | 3.175% | 2.198% | 0.2945% | 0.886% | 1.957% | 9.034% | 5.656% | 3.378%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Apartment\mid6.xlsx | 66 | 74500 | 7 | 208.4666 | 9391840.3563 | 126.065 | 12 | 2 | 4 | 2 | 2 | 217498.0869 | 18437.9175 | 29339.9271 | 40229.3297 | 58855 | 29339.9271 | 301957.2933 | 203176.4 | 27225 | 81908.55 | 180900.9 | 4 | 0.6267% | 0.3124% | 3.215% | 2.163% | 0.2899% | 0.8721% | 1.926% | 9.406% | 6.08% | 3.325%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Apartment\mid7.xlsx | 67 | 94750 | 5 | 278.1711 | 11580663.973 | 122.2234 | 21 | 3 | 4 | 1 | 1 | 206515.0335 | 19207.1274 | 30705.7943 | 42183.9736 | 41690 | 19207.1274 | 366412.2333 | 258402.2 | 27225 | 100496.025 | 230071.95 | 4 | 0.36% | 0.1659% | 3.164% | 2.231% | 0.2351% | 0.8678% | 1.987% | 9.011% | 5.677% | 3.334%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Apartment\mid8.xlsx | 68 | 94750 | 7 | 235.0975 | 11752804.3594 | 124.0402 | 12 | 2 | 4 | 2 | 2 | 265562.7216 | 22512.4902 | 35823.7215 | 49119.5597 | 74852.5 | 35823.7215 | 376143.0333 | 258402.2 | 27225 | 100496.025 | 230071.95 | 4 | 0.6369% | 0.3048% | 3.2% | 2.199% | 0.2316% | 0.8551% | 1.958% | 9.385% | 6.1% | 3.285%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Apartment\mid9.xlsx | 69 | 115000 | 5 | 306.4583 | 13908284.1717 | 120.9416 | 21 | 3 | 4 | 1 | 1 | 244225.1874 | 22714.3961 | 36312.748 | 49886.8711 | 50600 | 22714.3961 | 438728.1333 | 313628 | 27225 | 119083.5 | 279243 | 4 | 0.3638% | 0.1633% | 3.154% | 2.255% | 0.1957% | 0.8562% | 2.008% | 8.996% | 5.689% | 3.307%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\Apartment\mid10.xlsx | 70 | 115000 | 7 | 259.0045 | 14102578.1912 | 122.6311 | 12 | 2 | 4 | 2 | 2 | 312794.924 | 26516.4953 | 42195.223 | 57855.8198 | 90850 | 42195.223 | 449527.4133 | 313628 | 27225 | 119083.5 | 279243 | 4 | 0.6442% | 0.2992% | 3.188% | 2.224% | 0.193% | 0.8444% | 1.98% | 9.372% | 6.111% | 3.261%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hospital\high1.xlsx | 71 | 85000 | 4 | 294.5689 | 18461210.0548 | 217.1907 | 12 | 2 | 5 | 2 | 2 | 166672.6135 | 16454.6514 | 26338.7513 | 36211.5422 | 67150 | 26338.7513 | 369481.6963 | 237297.6875 | 24709.5 | 172674.3075 | 0 | 5 | 0.3637% | 0.1427% | 2.001% | 1.285% | 0.1338% | 0.9353% | 0% | 4.862% | 2.508% | 2.355%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hospital\high2.xlsx | 72 | 85000 | 6 | 240.5145 | 18505266.2469 | 217.709 | 11 | 1 | 5 | 2 | 3 | 218572.3069 | 19192.651 | 30596.2844 | 41983.924 | 67150 | 41983.924 | 369481.0563 | 237297.6875 | 24709.5 | 172673.6675 | 0 | 5 | 0.3629% | 0.2269% | 1.997% | 1.282% | 0.1335% | 0.9331% | 0% | 4.935% | 2.586% | 2.349%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hospital\high3.xlsx | 73 | 85000 | 8 | 208.2917 | 18592522.7682 | 218.7356 | 11 | 1 | 5 | 2 | 3 | 274619.9555 | 21402.5546 | 34020.6196 | 46626.0948 | 67150 | 46626.0948 | 369480.7363 | 237297.6875 | 24709.5 | 172673.3475 | 0 | 5 | 0.3612% | 0.2508% | 1.987% | 1.276% | 0.1329% | 0.9287% | 0% | 4.937% | 2.599% | 2.338%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hospital\high4.xlsx | 74 | 150000 | 4 | 391.3119 | 31799127.4629 | 211.9942 | 12 | 2 | 5 | 2 | 2 | 275098.1133 | 27158.8923 | 43472.8936 | 59768.229 | 118500 | 43472.8936 | 652024.8918 | 418760.625 | 43605 | 304717.735 | 0 | 5 | 0.3727% | 0.1367% | 2.05% | 1.317% | 0.1371% | 0.9583% | 0% | 4.972% | 2.56% | 2.412%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hospital\high5.xlsx | 75 | 150000 | 6 | 319.5048 | 31820691.5279 | 212.1379 | 11 | 1 | 5 | 2 | 3 | 356133.2235 | 31271.7597 | 49852.3969 | 68406.9744 | 118500 | 68406.9744 | 652024.2518 | 418760.625 | 43605 | 304717.095 | 0 | 5 | 0.3724% | 0.215% | 2.049% | 1.316% | 0.137% | 0.9576% | 0% | 5.047% | 2.636% | 2.411%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hospital\high6.xlsx | 76 | 150000 | 8 | 276.6993 | 31925573.1218 | 212.8372 | 11 | 1 | 5 | 2 | 3 | 442837.282 | 34512.6016 | 54859.8105 | 75186.7177 | 118500 | 75186.7177 | 652023.9218 | 418760.625 | 43605 | 304716.765 | 0 | 5 | 0.3712% | 0.2355% | 2.042% | 1.312% | 0.1366% | 0.9545% | 0% | 5.052% | 2.649% | 2.403%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hospital\high7.xlsx | 77 | 215000 | 4 | 468.486 | 45087622.9828 | 209.7099 | 12 | 2 | 5 | 2 | 2 | 380969.161 | 37610.9465 | 60203.3638 | 82769.9317 | 169850 | 60203.3638 | 934568.0972 | 600223.5625 | 62500.5 | 436761.1725 | 0 | 5 | 0.3767% | 0.1335% | 2.073% | 1.331% | 0.1386% | 0.9687% | 0% | 5.022% | 2.583% | 2.439%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hospital\high8.xlsx | 78 | 215000 | 6 | 382.5172 | 45076823.5834 | 209.6596 | 11 | 1 | 5 | 2 | 3 | 489826.1534 | 43011.2238 | 68567.0592 | 94087.052 | 169850 | 94087.052 | 934567.4472 | 600223.5625 | 62500.5 | 436760.5225 | 0 | 5 | 0.3768% | 0.2087% | 2.073% | 1.332% | 0.1387% | 0.9689% | 0% | 5.098% | 2.659% | 2.439%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hospital\high9.xlsx | 79 | 215000 | 8 | 331.2697 | 45186521.6263 | 210.1699 | 11 | 1 | 5 | 2 | 3 | 605707.862 | 47205.949 | 75036.6327 | 102839.5483 | 169850 | 102839.5483 | 934567.1172 | 600223.5625 | 62500.5 | 436760.1925 | 0 | 5 | 0.3759% | 0.2276% | 2.068% | 1.328% | 0.1383% | 0.9666% | 0% | 5.105% | 2.672% | 2.433%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hospital\high10.xlsx | 80 | 280000 | 4 | 534.6338 | 58349997.0967 | 208.3928 | 12 | 2 | 5 | 2 | 2 | 485400.8673 | 47920.9026 | 76706.3794 | 105458.921 | 221200 | 76706.3794 | 1217111.2927 | 781686.5 | 81396 | 568804.6 | 0 | 5 | 0.3791% | 0.1315% | 2.086% | 1.34% | 0.1395% | 0.9748% | 0% | 5.05% | 2.596% | 2.454%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hospital\high11.xlsx | 81 | 280000 | 6 | 436.5267 | 58299598.7757 | 208.2129 | 11 | 1 | 5 | 2 | 3 | 621339.6124 | 54559.3103 | 86976.6339 | 119348.4913 | 221200 | 119348.4913 | 1217110.6527 | 781686.5 | 81396 | 568803.96 | 0 | 5 | 0.3794% | 0.2047% | 2.088% | 1.341% | 0.1396% | 0.9757% | 0% | 5.128% | 2.672% | 2.456%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hospital\high12.xlsx | 82 | 280000 | 8 | 378.0432 | 58413217.172 | 208.6186 | 11 | 1 | 5 | 2 | 3 | 765565.7434 | 59664.5012 | 94840.2343 | 129980.8706 | 221200 | 129980.8706 | 1217110.3227 | 781686.5 | 81396 | 568803.63 | 0 | 5 | 0.3787% | 0.2225% | 2.084% | 1.338% | 0.1393% | 0.9738% | 0% | 5.136% | 2.685% | 2.451%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hospital\high13.xlsx | 83 | 345000 | 4 | 593.4539 | 71589254.368 | 207.5051 | 12 | 2 | 5 | 2 | 2 | 588876.034 | 58136.4248 | 93058.2361 | 127940.091 | 272550 | 93058.2361 | 1499654.488 | 963149.4375 | 100291.5 | 700848.0275 | 0 | 5 | 0.3807% | 0.13% | 2.095% | 1.345% | 0.1401% | 0.979% | 0% | 5.07% | 2.606% | 2.464%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hospital\high14.xlsx | 84 | 345000 | 6 | 484.5531 | 71500141.493 | 207.2468 | 11 | 1 | 5 | 2 | 3 | 751404.6658 | 65980.2136 | 105183.4572 | 144331.7172 | 272550 | 144331.7172 | 1499653.848 | 963149.4375 | 100291.5 | 700847.3875 | 0 | 5 | 0.3812% | 0.2019% | 2.097% | 1.347% | 0.1403% | 0.9802% | 0% | 5.148% | 2.68% | 2.468%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hospital\high15.xlsx | 85 | 345000 | 8 | 419.6353 | 71615621.5344 | 207.5815 | 11 | 1 | 5 | 2 | 3 | 923421.4832 | 71967.0161 | 114395.8054 | 156782.2612 | 272550 | 156782.2612 | 1499653.518 | 963149.4375 | 100291.5 | 700847.0575 | 0 | 5 | 0.3806% | 0.2189% | 2.094% | 1.345% | 0.14% | 0.9786% | 0% | 5.157% | 2.694% | 2.464%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hospital\mid1.xlsx | 86 | 21250 | 2 | 208.2917 | 5605692.2888 | 263.7973 | 21 | 3 | 6 | 1 | 1 | 34111.8952 | 4343.4596 | 6968.42 | 9593.3804 | 9350 | 4343.4596 | 100612.1019 | 63507.75 | 0 | 49968.4073 | 0 | 6 | 0.1668% | 0.07748% | 1.795% | 1.133% | 6.8859e-07 | 0.8914% | 0% | 4.063% | 2.039% | 2.024%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hospital\mid2.xlsx | 87 | 21250 | 3 | 170.0694 | 5622829.4223 | 264.6037 | 21 | 3 | 6 | 1 | 1 | 42291.4965 | 4698.5508 | 7538.1097 | 10377.6686 | 9350 | 4698.5508 | 100611.6119 | 63507.75 | 0 | 49967.9173 | 0 | 6 | 0.1663% | 0.08356% | 1.789% | 1.129% | 5.122e-07 | 0.8887% | 0% | 4.057% | 2.039% | 2.018%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hospital\mid3.xlsx | 88 | 57625 | 2 | 343.003 | 14540815.2945 | 252.3352 | 21 | 3 | 6 | 1 | 1 | 80000.8398 | 10186.4882 | 16342.6702 | 22498.8522 | 25355 | 10186.4882 | 272832.9131 | 172218.075 | 0 | 135499.1296 | 0 | 6 | 0.1744% | 0.07005% | 1.876% | 1.184% | 2.4758e-07 | 0.9319% | 0% | 4.237% | 2.121% | 2.116%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hospital\mid4.xlsx | 89 | 57625 | 3 | 280.0608 | 14542226.2536 | 252.3597 | 21 | 3 | 6 | 1 | 1 | 96549.8266 | 10726.607 | 17209.2086 | 23691.8102 | 25355 | 10726.607 | 272832.4331 | 172218.075 | 0 | 135498.6496 | 0 | 6 | 0.1744% | 0.07376% | 1.876% | 1.184% | 1.8154e-07 | 0.9318% | 0% | 4.24% | 2.124% | 2.116%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hospital\mid5.xlsx | 90 | 94000 | 2 | 438.0829 | 23463049.5742 | 249.6069 | 12 | 2 | 6 | 2 | 2 | 123987.6045 | 15787.3126 | 25328.3407 | 34869.3688 | 74260 | 25328.3407 | 445053.8043 | 280928.4 | 0 | 221029.9318 | 0 | 6 | 0.3165% | 0.1079% | 1.897% | 1.197% | 1.4917e-07 | 0.942% | 0% | 4.461% | 2.321% | 2.139%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hospital\mid6.xlsx | 91 | 94000 | 3 | 357.6932 | 23399798.0396 | 248.934 | 21 | 3 | 6 | 1 | 1 | 148138.1256 | 16458.0249 | 26404.3965 | 36350.7681 | 41360 | 16458.0249 | 445053.3343 | 280928.4 | 0 | 221029.4618 | 0 | 6 | 0.1768% | 0.07033% | 1.902% | 1.201% | 1.094e-07 | 0.9446% | 0% | 4.294% | 2.149% | 2.145%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hospital\mid7.xlsx | 92 | 130375 | 2 | 515.9286 | 32335358.9589 | 248.0181 | 12 | 2 | 6 | 2 | 2 | 167147.175 | 21282.8106 | 34145.0309 | 47007.2513 | 102996.25 | 34145.0309 | 617274.7056 | 389638.725 | 0 | 306560.7441 | 0 | 6 | 0.3185% | 0.1056% | 1.909% | 1.205% | 1.0577e-07 | 0.9481% | 0% | 4.486% | 2.333% | 2.153%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hospital\mid8.xlsx | 93 | 130375 | 3 | 421.2539 | 32228489.8531 | 247.1984 | 21 | 3 | 6 | 1 | 1 | 198565.3178 | 22060.4448 | 35392.6267 | 48724.8086 | 57365 | 22060.4448 | 617274.2456 | 389638.725 | 0 | 306560.2841 | 0 | 6 | 0.178% | 0.06845% | 1.915% | 1.209% | 7.7571e-08 | 0.9512% | 0% | 4.322% | 2.162% | 2.16%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hospital\mid9.xlsx | 94 | 166750 | 2 | 583.4791 | 41192447.2865 | 247.0312 | 12 | 2 | 6 | 2 | 2 | 209812.6153 | 26715.3911 | 42860.7797 | 59006.1683 | 131732.5 | 42860.7797 | 789495.6269 | 498349.05 | 0 | 392091.5764 | 0 | 6 | 0.3198% | 0.1041% | 1.917% | 1.21% | 8.2054e-08 | 0.9519% | 0% | 4.502% | 2.34% | 2.162%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hospital\mid10.xlsx | 95 | 166750 | 3 | 476.4087 | 41116730.3322 | 246.5771 | 12 | 2 | 6 | 2 | 2 | 248298.9149 | 27585.8069 | 44257.2293 | 60928.6517 | 131732.5 | 44257.2293 | 789495.1769 | 498349.05 | 0 | 392091.1264 | 0 | 6 | 0.3204% | 0.1076% | 1.92% | 1.212% | 6.0316e-08 | 0.9536% | 0% | 4.514% | 2.348% | 2.166%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hotel\high1.xlsx | 96 | 119000 | 8 | 246.454 | 18429789.27 | 154.8722 | 12 | 2 | 7 | 2 | 2 | 363530.1553 | 28331.7867 | 45035.0416 | 61721.6307 | 94010 | 45035.0416 | 376910.8911 | 474535.9694 | 48450 | 245513.8211 | 803785.5 | 7 | 0.5101% | 0.2444% | 2.045% | 2.575% | 0.2629% | 1.332% | 4.361% | 11.33% | 7.161% | 4.17%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hotel\high2.xlsx | 97 | 119000 | 12 | 201.2289 | 18734605.7457 | 157.4337 | 12 | 2 | 7 | 2 | 2 | 502772.05 | 32124.4891 | 50932.1876 | 69727.9882 | 94010 | 50932.1876 | 376910.5511 | 474535.9694 | 48450 | 245513.4811 | 803785.5 | 7 | 0.5018% | 0.2719% | 2.012% | 2.533% | 0.2586% | 1.31% | 4.29% | 11.18% | 7.076% | 4.102%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hotel\high3.xlsx | 98 | 119000 | 16 | 174.2693 | 19070795.1424 | 160.2588 | 11 | 1 | 7 | 2 | 3 | 663198.5693 | 34445.2555 | 54553.2633 | 74651.8339 | 94010 | 74651.8339 | 376910.3411 | 474535.9694 | 48450 | 245513.2711 | 803785.5 | 7 | 0.493% | 0.3914% | 1.976% | 2.488% | 0.2541% | 1.287% | 4.215% | 11.11% | 7.076% | 4.03%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hotel\high4.xlsx | 99 | 119000 | 20 | 155.8712 | 19369886.1134 | 162.7722 | 11 | 1 | 7 | 2 | 3 | 810689.8004 | 37031.3627 | 58604.6069 | 80169.9298 | 94010 | 80169.9298 | 376910.1911 | 474535.9694 | 48450 | 245513.1211 | 803785.5 | 7 | 0.4853% | 0.4139% | 1.946% | 2.45% | 0.2501% | 1.267% | 4.15% | 10.96% | 6.995% | 3.967%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hotel\high5.xlsx | 100 | 119000 | 24 | 142.2903 | 19655940.4419 | 165.176 | 11 | 1 | 7 | 2 | 3 | 963448.7792 | 39429.4352 | 62367.38 | 85298.4375 | 94010 | 85298.4375 | 376910.0611 | 474535.9694 | 48450 | 245512.9911 | 803785.5 | 7 | 0.4783% | 0.434% | 1.918% | 2.414% | 0.2465% | 1.249% | 4.089% | 10.83% | 6.919% | 3.91%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hotel\high6.xlsx | 101 | 366687.5 | 8 | 432.6239 | 54003552.5382 | 147.274 | 12 | 2 | 7 | 2 | 2 | 975747.2481 | 76045.0338 | 120878.0544 | 165666.3427 | 289683.125 | 120878.0544 | 1161396.7427 | 1462240.719 | 48450 | 756508.2656 | 2476794.096 | 7 | 0.5364% | 0.2238% | 2.151% | 2.708% | 0.08972% | 1.401% | 4.586% | 11.7% | 7.497% | 4.198%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hotel\high7.xlsx | 102 | 366687.5 | 12 | 353.2359 | 54573829.9845 | 148.8293 | 12 | 2 | 7 | 2 | 2 | 1314326.0274 | 83978.5189 | 133144.8314 | 182280.0408 | 289683.125 | 133144.8314 | 1161396.4727 | 1462240.719 | 48450 | 756507.9956 | 2476794.096 | 7 | 0.5308% | 0.244% | 2.128% | 2.679% | 0.08878% | 1.386% | 4.538% | 11.6% | 7.441% | 4.154%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hotel\high8.xlsx | 103 | 366687.5 | 16 | 305.9113 | 55256866.1843 | 150.692 | 11 | 1 | 7 | 2 | 3 | 1697402.5575 | 88159.8175 | 139624.6206 | 191065.2702 | 289683.125 | 191065.2702 | 1161396.3027 | 1462240.719 | 48450 | 756507.8256 | 2476794.096 | 7 | 0.5242% | 0.3458% | 2.102% | 2.646% | 0.08768% | 1.369% | 4.482% | 11.56% | 7.454% | 4.103%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hotel\high9.xlsx | 104 | 366687.5 | 20 | 273.6154 | 55844459.2752 | 152.2944 | 11 | 1 | 7 | 2 | 3 | 2038139.3337 | 93099.823 | 147336.6931 | 201553.6489 | 289683.125 | 201553.6489 | 1161396.1927 | 1462240.719 | 48450 | 756507.7156 | 2476794.096 | 7 | 0.5187% | 0.3609% | 2.08% | 2.618% | 0.08676% | 1.355% | 4.435% | 11.45% | 7.395% | 4.06%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hotel\high10.xlsx | 105 | 366687.5 | 24 | 249.7755 | 56421577.2694 | 153.8683 | 11 | 1 | 7 | 2 | 3 | 2384759.3165 | 97597.0025 | 154373.7391 | 211133.4282 | 289683.125 | 211133.4282 | 1161396.1027 | 1462240.719 | 48450 | 756507.6256 | 2476794.096 | 7 | 0.5134% | 0.3742% | 2.058% | 2.592% | 0.08587% | 1.341% | 4.39% | 11.35% | 7.336% | 4.018%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hotel\high11.xlsx | 106 | 614375 | 8 | 559.9886 | 89294385.8922 | 145.3418 | 12 | 2 | 7 | 2 | 2 | 1565241.9451 | 121987.4069 | 193906.159 | 265753.1538 | 485356.25 | 193906.159 | 1945879.1672 | 2449941.4809 | 48450 | 1267500.3869 | 4149795.9375 | 7 | 0.5435% | 0.2172% | 2.179% | 2.744% | 0.05426% | 1.419% | 4.647% | 11.8% | 7.587% | 4.217%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hotel\high12.xlsx | 107 | 614375 | 12 | 457.2288 | 90073081.2798 | 146.6093 | 12 | 2 | 7 | 2 | 2 | 2089938.8727 | 133536.0995 | 211716.54 | 289847.5226 | 485356.25 | 211716.54 | 1945878.9172 | 2449941.4809 | 48450 | 1267500.1369 | 4149795.9375 | 7 | 0.5388% | 0.235% | 2.16% | 2.72% | 0.05379% | 1.407% | 4.607% | 11.72% | 7.541% | 4.181%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hotel\high13.xlsx | 108 | 614375 | 16 | 395.9717 | 91039843.446 | 148.1829 | 11 | 1 | 7 | 2 | 3 | 2679842.1964 | 139185.8389 | 220437.9557 | 301651.9394 | 485356.25 | 301651.9394 | 1945878.7672 | 2449941.4809 | 48450 | 1267499.9869 | 4149795.9375 | 7 | 0.5331% | 0.3313% | 2.137% | 2.691% | 0.05322% | 1.392% | 4.558% | 11.7% | 7.56% | 4.137%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hotel\high14.xlsx | 109 | 614375 | 20 | 354.1679 | 91857553.7495 | 149.5138 | 11 | 1 | 7 | 2 | 3 | 3198161.6325 | 146088.286 | 231194.4779 | 316269.4209 | 485356.25 | 316269.4209 | 1945878.6672 | 2449941.4809 | 48450 | 1267499.8869 | 4149795.9375 | 7 | 0.5284% | 0.3443% | 2.118% | 2.667% | 0.05274% | 1.38% | 4.518% | 11.61% | 7.509% | 4.1%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hotel\high15.xlsx | 110 | 614375 | 24 | 323.3096 | 92669952.2247 | 150.8361 | 11 | 1 | 7 | 2 | 3 | 3721937.7674 | 152321.4386 | 240933.9366 | 329519.8282 | 485356.25 | 329519.8282 | 1945878.5872 | 2449941.4809 | 48450 | 1267499.8069 | 4149795.9375 | 7 | 0.5237% | 0.3556% | 2.1% | 2.644% | 0.05228% | 1.368% | 4.478% | 11.52% | 7.457% | 4.064%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hotel\high16.xlsx | 111 | 862062.5 | 8 | 663.3333 | 124472017.2402 | 144.3886 | 12 | 2 | 7 | 2 | 2 | 2145455.2558 | 167206.4335 | 265784.4618 | 364264.1333 | 681029.375 | 265784.4618 | 2730364.7188 | 3437646.2305 | 48450 | 1778494.5314 | 5822804.5335 | 7 | 0.5471% | 0.2135% | 2.194% | 2.762% | 0.03892% | 1.429% | 4.678% | 11.86% | 7.632% | 4.23%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hotel\high17.xlsx | 112 | 862062.5 | 12 | 541.6094 | 125437444.9585 | 145.5085 | 12 | 2 | 7 | 2 | 2 | 2850870.8923 | 182155.6525 | 288801.0406 | 395378.9636 | 681029.375 | 288801.0406 | 2730364.4788 | 3437646.2305 | 48450 | 1778494.2914 | 5822804.5335 | 7 | 0.5429% | 0.2302% | 2.177% | 2.741% | 0.03862% | 1.418% | 4.642% | 11.79% | 7.592% | 4.197%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hotel\high18.xlsx | 113 | 862062.5 | 16 | 469.0475 | 126659636.3033 | 146.9263 | 11 | 1 | 7 | 2 | 3 | 3641137.7217 | 189113.6759 | 299512.0224 | 409858.5569 | 681029.375 | 409858.5569 | 2730364.3388 | 3437646.2305 | 48450 | 1778494.1514 | 5822804.5335 | 7 | 0.5377% | 0.3236% | 2.156% | 2.714% | 0.03825% | 1.404% | 4.597% | 11.77% | 7.614% | 4.156%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hotel\high19.xlsx | 114 | 862062.5 | 20 | 419.5288 | 127697843.5372 | 148.1306 | 11 | 1 | 7 | 2 | 3 | 4330642.0199 | 197818.6667 | 313061.2632 | 428261.5456 | 681029.375 | 428261.5456 | 2730364.2488 | 3437646.2305 | 48450 | 1778494.0614 | 5822804.5335 | 7 | 0.5333% | 0.3354% | 2.138% | 2.692% | 0.03794% | 1.393% | 4.56% | 11.69% | 7.567% | 4.123%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hotel\high20.xlsx | 115 | 862062.5 | 24 | 382.9757 | 128722990.6237 | 149.3198 | 11 | 1 | 7 | 2 | 3 | 5024750.8985 | 205639.4634 | 325269.5477 | 444863.7125 | 681029.375 | 444863.7125 | 2730364.1788 | 3437646.2305 | 48450 | 1778493.9914 | 5822804.5335 | 7 | 0.5291% | 0.3456% | 2.121% | 2.671% | 0.03764% | 1.382% | 4.524% | 11.61% | 7.519% | 4.09%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hotel\high21.xlsx | 116 | 1109750 | 8 | 752.6187 | 159587670.4519 | 143.8051 | 12 | 2 | 7 | 2 | 2 | 2720236.0279 | 212002.0743 | 336989.7679 | 461852.7543 | 876702.5 | 336989.7679 | 3514847.0833 | 4425346.9924 | 48450 | 2289486.5927 | 7495806.375 | 7 | 0.5494% | 0.2112% | 2.202% | 2.773% | 0.03036% | 1.435% | 4.697% | 11.9% | 7.66% | 4.238%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hotel\high22.xlsx | 117 | 1109750 | 12 | 614.5106 | 160717148.0338 | 144.8228 | 12 | 2 | 7 | 2 | 2 | 3603209.9982 | 230226.1636 | 365015.0555 | 499718.6784 | 876702.5 | 365015.0555 | 3514846.8533 | 4425346.9924 | 48450 | 2289486.3627 | 7495806.375 | 7 | 0.5455% | 0.2271% | 2.187% | 2.754% | 0.03015% | 1.425% | 4.664% | 11.83% | 7.624% | 4.208%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hotel\high23.xlsx | 118 | 1109750 | 16 | 532.1818 | 162183296.6438 | 146.144 | 11 | 1 | 7 | 2 | 3 | 4590057.2711 | 238398.7284 | 377568.0683 | 516672.0935 | 876702.5 | 516672.0935 | 3514846.7233 | 4425346.9924 | 48450 | 2289486.2327 | 7495806.375 | 7 | 0.5406% | 0.3186% | 2.167% | 2.729% | 0.02987% | 1.412% | 4.622% | 11.82% | 7.648% | 4.17%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hotel\high24.xlsx | 119 | 1109750 | 20 | 475.9979 | 163418377.8666 | 147.2569 | 11 | 1 | 7 | 2 | 3 | 5447001.7019 | 248812.6724 | 393762.6859 | 538659.4775 | 876702.5 | 538659.4775 | 3514846.6333 | 4425346.9924 | 48450 | 2289486.1427 | 7495806.375 | 7 | 0.5365% | 0.3296% | 2.151% | 2.708% | 0.02965% | 1.401% | 4.587% | 11.74% | 7.604% | 4.139%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hotel\high25.xlsx | 120 | 1109750 | 24 | 434.5246 | 164656733.0236 | 148.3728 | 11 | 1 | 7 | 2 | 3 | 6307449.4781 | 258134.2941 | 408303.0742 | 558426.7654 | 876702.5 | 558426.7654 | 3514846.5633 | 4425346.9924 | 48450 | 2289486.0727 | 7495806.375 | 7 | 0.5324% | 0.3391% | 2.135% | 2.688% | 0.02942% | 1.39% | 4.552% | 11.67% | 7.559% | 4.108%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hotel\mid1.xlsx | 121 | 29750 | 5 | 155.8712 | 4522263.3399 | 152.0089 | 22 | 4 | 8 | 0 | 0 | 79845.1628 | 7426.0754 | 11871.8192 | 16309.6419 | 0 | 0 | 99842.6703 | 83590.1176 | 48450 | 62526.0834 | 200946.375 | 8 | 0% | 0% | 2.208% | 1.848% | 1.071% | 1.383% | 4.443% | 10.95% | 6.651% | 4.302%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hotel\mid2.xlsx | 122 | 29750 | 7 | 131.7352 | 4639059.5954 | 155.9348 | 12 | 2 | 8 | 2 | 2 | 105816.7848 | 8970.383 | 14274.4095 | 19572.3024 | 23502.5 | 14274.4095 | 100879.1303 | 83590.1176 | 48450 | 62525.7434 | 200946.375 | 8 | 0.5066% | 0.3077% | 2.175% | 1.802% | 1.044% | 1.348% | 4.332% | 11.51% | 7.321% | 4.194%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hotel\mid3.xlsx | 123 | 78375 | 5 | 252.9946 | 10857093.3393 | 138.5275 | 22 | 4 | 8 | 0 | 0 | 175609.9096 | 16332.7669 | 26110.65 | 35871.1115 | 0 | 0 | 257341.2761 | 220214.3014 | 48450 | 164719.545 | 529383.9375 | 8 | 0% | 0% | 2.37% | 2.028% | 0.4463% | 1.517% | 4.876% | 11.24% | 7.246% | 3.992%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hotel\mid4.xlsx | 124 | 78375 | 7 | 213.8194 | 11071619.7038 | 141.2647 | 12 | 2 | 8 | 2 | 2 | 226774.1135 | 19224.272 | 30591.239 | 41945.0612 | 61916.25 | 30591.239 | 259018.5461 | 220214.3014 | 48450 | 164719.215 | 529383.9375 | 8 | 0.5592% | 0.2763% | 2.339% | 1.989% | 0.4376% | 1.488% | 4.781% | 11.87% | 7.956% | 3.914%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hotel\mid5.xlsx | 125 | 127000 | 5 | 322.0507 | 17110770.687 | 134.7305 | 22 | 4 | 8 | 0 | 0 | 266362.9767 | 24773.3423 | 39604.3166 | 54408.866 | 0 | 0 | 413831.922 | 356838.4852 | 48450 | 266913.0466 | 857821.5 | 8 | 0% | 0% | 2.419% | 2.085% | 0.2832% | 1.56% | 5.013% | 11.36% | 7.432% | 3.929%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hotel\mid6.xlsx | 126 | 127000 | 7 | 272.1825 | 17406504.0842 | 137.0591 | 12 | 2 | 8 | 2 | 2 | 340482.1068 | 28863.6147 | 45930.152 | 62976.9536 | 100330 | 45930.152 | 415948.402 | 356838.4852 | 48450 | 266912.7266 | 857821.5 | 8 | 0.5764% | 0.2639% | 2.39% | 2.05% | 0.2783% | 1.533% | 4.928% | 12.02% | 8.158% | 3.862%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hotel\mid7.xlsx | 127 | 175625 | 5 | 378.7177 | 23329603.9925 | 132.8376 | 22 | 4 | 8 | 0 | 0 | 354903.8295 | 33008.1687 | 52769.059 | 72494.7406 | 0 | 0 | 569890.5778 | 493462.669 | 48450 | 369106.5583 | 1186259.0625 | 8 | 0% | 0% | 2.443% | 2.115% | 0.2077% | 1.582% | 5.085% | 11.43% | 7.528% | 3.905%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hotel\mid8.xlsx | 128 | 175625 | 7 | 320.0749 | 23700486.6637 | 134.9494 | 12 | 2 | 8 | 2 | 2 | 450990.158 | 38231.6894 | 60837.4012 | 83416.9716 | 138743.75 | 60837.4012 | 572374.2678 | 493462.669 | 48450 | 369106.2483 | 1186259.0625 | 8 | 0.5854% | 0.2567% | 2.415% | 2.082% | 0.2044% | 1.557% | 5.005% | 12.11% | 8.262% | 3.844%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hotel\mid9.xlsx | 129 | 224250 | 5 | 427.9457 | 29525354.4232 | 131.6627 | 22 | 4 | 8 | 0 | 0 | 442116.3796 | 41119.4549 | 65736.302 | 90309.2882 | 0 | 0 | 725661.2437 | 630086.8528 | 48450 | 471300.08 | 1514696.625 | 8 | 0% | 0% | 2.458% | 2.134% | 0.1641% | 1.596% | 5.13% | 11.48% | 7.588% | 3.894%
B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\TASK1\Prototypes\hotel\mid10.xlsx | 130 | 224250 | 7 | 361.6801 | 29969926.5517 | 133.6452 | 12 | 2 | 8 | 2 | 2 | 559576.8352 | 47436.8839 | 75485.462 | 103501.6045 | 177157.5 | 75485.462 | 728497.7337 | 630086.8528 | 48450 | 471299.77 | 1514696.625 | 8 | 0.5911% | 0.2519% | 2.431% | 2.102% | 0.1617% | 1.573% | 5.054% | 12.16% | 8.328% | 3.837%
[26 empty] | max | 2.773% |  | 2.169% |  | 4.942% | #VALUE! | 4.942%
[26 empty] | min | 1.129% |  | 0.8444%

## Readme
Link to detailed cost report | This column provides the file path of the detailed cost report from RSmeans, and it needs to be noted that the root path "B:\OneDrive - Johns Hopkins\2022-NIST-Economic_Impact_PBFD\NIST-research\WP1\"might be different.
Building index | This column provides the building index for each building (occupancy) type. The index restart from 1 means a new building (occupancy) type is applied.
Area (S.F.) | This column provides the total floor area of the whole building.
Story | This column provides the story height for each building and the default story heigh is 10 feet.
Perimeter (L.F.) | This column provides the building perimeter and the default ratio between width and length is 3/4.
Total cost ($) | This column provides the total cost of the building, excluding the contractor and architectural fees. It needs to be noted that this value is not exactly the same as the subtotal value listed in the detailed cost file exact from the Rsmeans, and it is because the column fire rating and beam fire rating are modified based on the IBC building, and the column cost and floor system cost are recalculated to change the structure type to steel-concrete composite structure.
Square foot cost ($) | This column provides the square foot cost of the building. This value is calculated by total cost divided by the building area.
IBC fire type | This column provides the IBC fire type of the building based on the area and height of the building. 11 means type IA, 12 means type IB, 21 means type IIA, 22 means type IIB.
Firetype_index | This column provides the fire type index of the IBC fire type for the convenience.
Building_type | This column provides the building type of this specific building. Here, 1 to 8 mean high-rise office buildings (11-17 stories), mid-rise office buildings (5-10), high-rise apartment buildings (8-24), mid-rise apartment buildings (5-7), high-rise hospital buildings (4-8), mid-rise hospital buildings (2-3), high-rise hotel buildings (8-24), mid-rise hotel buildings (5-7).
IBC beam fire rating (hrs) | This column provides the fire rating for beams based on the IBC code.
IBC column fire rating (hrs) | This column provides the fire rating for columns based on the IBC code.
Newly calculated column cost ($) | This column provides the new column cost for this specific building. It needs to be noted that to make sure the prototype is a steel-composite structure, the cost on the column and floor systems are recalculated.
Colum fire protection cost (1h rating)($) | This column provides the fire protection cost for the column with 1-hour rating. The fire protection material is SFRM in this database.
2h | 2-hour rating.
3h | 3-hour rating.
Floor system fire protection cost ($) | This column provides the cost of the fire protection on the floor systems, and it is the same as the fire protection cost on the beams since the steel deck was left unprotected.
Column fire protection cost ($) | This column provides the column fire protection cost of the whole building.
Partition fire protection cost ($) | This column provides the partition fire protection cost of the whole building, and it needs to be noted that only the costs of fire-resistant related materials are calculated. It is hard to distinguish whether the fire resistance materials in the partitions are only for decoration or there are some fire-related purpose. so here, we assume the partition fire protection is part of the fire services.
Sprinkler cost ($) | This column provides the sprinkler cost of the whole building.
Fire pump cost ($) | This column provides the fire pump cost of the whole building.
Fire alarm system cost ($) | This column provides the fire alarm cost of the whole building.
Ceiling fire protection cost ($) | This column provides the ceiling fire protection cost of the whole building, and it needs to be noted that in some occupancy types, the ceiling is made by gypsum board with a certain fire rating. It is hard to distinguish whether it is only for decoration or there are some fire related purposes. so here, we assume the ceiling fire protection is part of the fire services.
Floor system cost multiplier | These columns provide the cost multiplier of different fire services, and they are calculated by the details cost value over the total cost of the building.
Column fire protection cost multiplier
Partition fire protection cost multiplier
Sprinkler cost multiplier
Fire pump cost multiplier
Fire alarm system cost multiplier
Ceiling fire protection cost multiplier